**DAY 1 (D1) RECRUITMENT SAMPLE PACK CONTENTS FOR Adult & Child >40kg**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item** | **Trade example (based on UK availability)** | **Reference picture** | **Number required in adult D1 pack** | **Comments** |
| K2 EDTA (spray-coated) blood tube 3ml (plastic) | BD Vacutainer 367838 | C:\Users\Dr Jake Dunning\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20130404_125538.jpgC:\Users\Dr Jake Dunning\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20130404_125538.jpgC:\Users\Dr Jake Dunning\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20130404_125538.jpg | 3 |  |
| Plain clotted blood tube 4ml (plastic) | BD Vacutainer 368975 | C:\Users\Dr Jake Dunning\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20130404_125538.jpg | 1 | 3ml BD tube not available in Europe; 4ml tube to be filled with 3ml blood |
| Tempus blood tube (glass) | Tempus Blood RNA Tube 4342792 (Vacuette) | C:\Users\Dr Jake Dunning\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20130404_125538.jpg | 1 | Caution – fragile glass |
| Sterile universal container for urine, 30ml | Sterilin 128A/FS | http://www.sciquip.co.uk/wp-content/uploads/2012/10/Unbranded-Universal-Sample-centrifuge-container.jpg | 1 |  |
| Stool container, 30ml | Sterilin 128SA | http://www.sigmaaldrich.com/medium/prodimages/z/z645370g.jpg | 1 |  |
| Sterile suction trap 30ml with sealable screw-cap | Pennine Healthcare MST-3000 or MST 3070 |  | 1 | Connector colour may differ |
| Sterile 10CH (3.3mm) suction catheter, 50 cm length | Kendall Argyle 1180-851105 Touch-Trol (Tyco Healthcare Ltd) |  | 1 |  |
| Small plastic bag containing ETA and NPA sample labels | NA | C:\Users\Dr Jake Dunning\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20130404_143210.jpg | 1 | Only needed if using packs containing pre-labelled consumables |
| Small plastic bag containing sputum sample, flocked swab & infected site swab labels | NA | C:\Users\Dr Jake Dunning\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20130404_143026.jpg | 1 | Only needed if using packs containing pre-labelled consumables for a specific subject |

**SERIAL AND WEEKLY SAMPLE PACK CONTENTS FOR ADULTS**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item** | **Trade example (based on UK availability)** | **Reference picture** | **Number required in adult D1 pack** | **Comments** |
| K2 EDTA (spray-coated) blood tube 3ml (plastic) | BD Vacutainer 367838 | C:\Users\Dr Jake Dunning\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20130404_125538.jpg | 1 |  |
| Plain clotted blood tube 4ml (plastic) | BD Vacutainer 368975 | C:\Users\Dr Jake Dunning\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20130404_125538.jpg | 1 | 3ml BD tube not available in Europe; 4ml tube to be filled with 3ml blood |
| Tempus blood tube (glass) | Tempus Blood RNA Tube 4342792 (Vacuette) | C:\Users\Dr Jake Dunning\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20130404_125538.jpg | 1 | Caution: fragile |
| Sterile universal container for urine, 30ml | Sterilin 128A/FS | http://www.sciquip.co.uk/wp-content/uploads/2012/10/Unbranded-Universal-Sample-centrifuge-container.jpg | 1 |  |
| Stool container, 30ml | Sterilin 128SA | http://www.sigmaaldrich.com/medium/prodimages/z/z645370g.jpg | 1 |  |
| Sterile suction trap 30ml with sealable screw-cap | Pennine Healthcare MST-3000 or MST 3070 |  | 1 | Connector colour may differ |
| Sterile 10CH (3.3mm) suction catheter, 50 cm length | Kendall Argyle 1180-851105 Touch-Trol (Tyco Healthcare Ltd) |  | 1 |  |
| Small plastic bag containing ETA and NPA sample labels | NA | C:\Users\Dr Jake Dunning\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20130404_143210.jpg | 1 | Only needed if using packs containing pre-labelled consumables |
| Small plastic bag containing sputum sample, flocked swab & infected site swab labels | NA | C:\Users\Dr Jake Dunning\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20130404_143026.jpg | 1 | Only needed if using packs containing pre-labelled consumables for a specific subject |

**EXAMPLE D1 ADULT SAMPLE PACK WITH PRE-LABELLED CONSUMABLES FOR SUBJECT 01/001**



* **The sample pack shown above contains pre-labelled D1 consumables for subject 01/001, so the main bag is also labelled specifically for D1 sampling from subject 01/001**
* **Specimen containers should be pre-labelled “ISARIC RESEARCH SAMPLES – NOT FOR ROUTINE DIAGNOSTICS”**
* **It is advised that in addition to time-point-specific sample packs, a pack containing spare consumables is also available at all times (in case consumables break etc.)**
* **Flocked swab in UTM e.g. Copan 305C is not shown; these swabs may either be available locally or can be carried in the ‘spare consumables’ pack**
* **Infected site swabs include flocked swab in UTM (see above), a general purpose bacterial culture swab e.g. Sterilin Aimes transport swab 18108CST, or a plain rayon general purpose swab for molecular analysis e.g. Sterilin F155CA; these may either be available locally or can be carried in the ‘spare consumables’ pack**
* **Additional “ISARIC RESEARCH SAMPLES” labels for the ETA or NPA specimen can be included (loose) in the pack, or carried in the ‘spare consumables’ pack**